## Slide 1: RESIK spectral atlas for flares: data access and use
Janusz & Barbara Sylwester
Anna Kępa,
Mirek Kowaliński,
ZFS CBK

## Slide 2: CORONAS-F launch, orbit & pointing
CORONAS-F
polar orbit, 95min,
~500 km
semi-Sun-synchronous
x
10,
SS-14 Cyclone
CORONAS-F launch from Plesetsk on 31 July 2001 morning
For description of the instruments, visit http://coronas.izmiran.rssi.ru/F/instruments .

## Slide 3
Two Polish-led Bragg crystal spectrometers placed aboard, one rocking Diogeness, the other fixed bent crystal RESIK
Scheme of Coronas-F Payload
A
B
4
2
3
1
II
RESIK
dispersion
planes
Diogeness
dispersion
planes

## Slide 4: S/C nights
Position of the satellite is being calculated every DGI (1-10s).
There are
~20 mln Lon. Lat, Height values assigned to each measurement
as well as H○ and various angles from orbital IDL programme using two-line orbital elements
(Z. Kordylewski)
H○

## Slide 5: Crystal-detector geometry
Θ1
Θ2
λ1
λ2
Position sensitive
proportional
detector
R
Bent
Crystal
EUV filetr aperture
nλ = 2d sin(θ)
~30 cm, 20 kg
Direct illumination

## Slide 6: Phases of RESIK operations
HV
On
Always
Full range of ADS
0-255
Bad
spectra
ADS under control separately for each channel
Optimum settings
End of spectra records
19 mln samples (DGI), 1.8 mln spectra 25 GB, only some (5000) reduced…
2001 2002 2002 2002 2003
Fluo exercise
Good Ar spectra

## Slide 7: Implementation of dynamic spectra collection exposures
2002
On 24 July 2002 new software has been uploaded that regulated
the exposure depending on the rate in the detector.
That caused that spectra accumulation time adjusted between 5 min and 2 s
10 s spectra accumulation time

## Slide 8: Channel 1 and 2 averaged RESIK spectra
Ar XVII
3p
Ar XVI
sat
K XVIII
w,x,y,z
S XVI
6p
Ar XVIII
2p
S XVI
4p
Ar XVII
w,x,y,z
S XV
4p
S XV
3p
S XVI
5p
S XIV
sat
S XIV
sat
?
?
?
Channel 1
Channel 2

## Slide 9: Channel 3 and 4 averaged RESIK spectra
S XIV
sat
S XV
3p
Cl XVI
w,x,y,z
S XVI
2p
S XV
w,x,y,z
Si XIV
3p
Si XIII
4p
Si XIII
5p
Si XII
sat w4
Si XIII 3p
Si XII sat w3
Si XIV 6p
Si XIV 5p
Si XIV
8p
Al XIII 5p
Al XIII 4p
Al XIII
3p
?
Channel 3
Channel 4
Si XIII
sat w5

## Slide 10: RESIK catalogue Aug 2001- May 2003
http://www.cbk.pan.wroc.pl/experiments/resik/resik_catalogue.htm
Provide access to catalogue pages

## Slide 11: RESIK spectra reduction progress
Effects considered
  All factors discussed in the instrument paper
  Removed fluorescence from the crystal support (semi-empirically)
  Saturation (electronic dead-time) effects correction performed
  Wavelengths converted to centre of the disk source location
36 flares reduced ~5000+ spectra
  16 new flares added from last year
  Cases identified with time dependent offset for limb events (source transversal motion)
Further steps – mission long approach
http://www.cbk.pan.wroc.pl/body/publikacje/2005/rip.html

## Slide 12: Accessing Level_2 catalogue fits files (Szymon & Anna) http://www.cbk.pan.wroc.pl/experiments/resik/RESIK_Level2/index.html

## Slide 13: Two examples of events from Level_2 catalogue page

## Slide 14: RESIK solar flare spectra: Si XIII + satellites
RESIK solar flare spectra stacked in ascending order of temperature (from GOES).
Done:
Abundance estimates:
K, Ar, Cl, S and Si
Orange arrows mark n=3 and n=4 satellites to Si XIII w3 and w4 lines.
Temperature stack plots

## Slide 15: Direction of future analyses
Investigations of solar plasma
  Further kappa-distribution diagnostics (Ar lines & their satellites)
  Kappa effects on elemental abundance determinations
  DEM- dependent S & Si abundance studies (now in progress)
  Calibration of PHA sygnal with energy (rate dependence of gain)-2s lightcurves at several energies from 0.5 – 10 keV
  Further reduction of selected flares to Level_2 (AK, BS, JS)
  Systematic automatic reduction of every recorded S/C day spectrum (~2 mln.)
Investigation of magnetosperic & aeronomic effects PIN & PHA 1-2 s time resolution
  Crossings of polar van Allen belts geomagnetic storms and disturbances
  SAA variability
  Night portion emission
  Analysis of hidden-bin emissions
  Studies of X-ray auroral illumination & spectra
  Studies of Height profiles of X-ray absporption

## Slide 16: Fitting Ar triplet spectra κ-effects they are free from fluorescence

## Slide 17: DEM-abundance: S
T1
T2

## Slide 18: „Discovered” optimum settings

## Slide 19: PHA spectra (~20 mln available each 2s)
night
day
Si fluorescence @ 1.75 keV
night
day
night
day
night
day
#1 #2 #3 #4

## Slide 20: Overlaying in-flight & lab. PHA bin energy calibration
Diamonds corresponds
To Ge (1.254 A = 9.89 keV)
Stars
Mo Lya (5.407 A = 2.29 kev)
Lab V scale is offst
+15V from real
Gain of the PHA amplifier was adjusted in order to have Fe55 line somewhere in the centre of the PHA binscale.
The lab calibration was made with exactly the same
Conditions as in flight.
Corrected
Det. A
5.9 kev
3.47 kev
1.75 kev
2.29 kev
8.98 kev

## Slide 21: Records of PIN detectors
Four PIN detectors mounted behind the 100μ Al foil. No X-rays, but particle –sensitive
Idea of Witold Trzebinski

## Slide 22: RESIK particle environment through PIN averaged rates
Several periods of enhanced geomagnetic activity
a, b c d e f g h

## Slide 23: Period „c”
SAA SAA
Polar oval crossings

## Slide 24: Conclusions
A lot of new work to be done
Collaboration with Elena and Marian’s groups highly desired
Results are important for planning ChemiX
There is some funds available to support one person FTE (full time eqivalent) job: „as soon as possible”- pass the info to interested (PhD) students. In addition visitors from abroard can be supported for month-long visits.

## Slide 25: Examples of spectra: hot & cool

## Slide 26: Related SEP event

## Slide 27: Period „c”

## Slide 28: From where the high rates come

## Slide 29: Period when HV was constantly on

## Slide 30: Map from PHA0 for February 2002 Mirek Kowaliński

## Slide 31: Removing orbital background
Difference
Normalized
Through
Hidden bins
flux
measured
Taken during
Night close
To Equator

## Slide 32: Orbital background removal how it is done?
Taken as average of many night portions of the records over entire bin band
0 – 255 in four detectors
Out of auroral ovals
Out of SAA
Distinctive “hidden bin” peaks, where the 45 spectral bins are compressed to 10 bins
(higher level)
Assymetry due to instrument construction: particles “easier” penetrate the lower-wavelenght portion of the detector.
By the heigth of the indicated peak, the entire background profile is removed from the “real” spectrum.
Caution: No auroral correction yet available

## Slide 33: Rate dependence of gain

## Slide 34: Enhance particle emission from PHA courtesy Mirek Kowaliński

## Slide 35: Future analyses 2
Investigations of ambient X-ray emission
  S/C night-PHA and spectra
  Systematic reduction of every recorded spectrum (~1mln)
  Auroral emission & spectra collection
Investigation of magnetosperic effects PIN & PHA
  Crossings of polar van Allen belts geomagnetic storms and disturbances
  SAA variability
  Night portion emission

## Slide 36: Examples of offset variability
Source initially above the limb
Flare starts on the disc

## Slide 39: Instrument settings plot HV

## Slide 40: Instrument settings plot ADS