## Slide 1
ReSpect
Fig. rr

## Slide 2
ReSpect

## Slide 3
View from the sun
System aperture

## Slide 4
System pinhole CCD
Pin-holes of
various diameters

## Slide 5
CCD calibrations
Fe55
Calibration CCD through the fluorescent filters and source Fe55
Al= 0.15 µm - 1.5kev
Ti= 0.20 µm- 4.5kev
99.9%

## Slide 6
CCD calibrations
Calibration CCD only through the fluorescent filters

## Slide 7
CCD calibrations
Calibration CCD only through Fe55 source

## Slide 8
Thermal shield
36µm Mylar+1500Å Al
Details of construction
In cross-sections Upper side
Moving shutter
Filter 26x26mm
Be 38.1µm
Pin-holes of
various diameters
Filter 26x26mm
Be 12.5µm
Miniature position
sensors
Mirror
Safety cover

## Slide 9
CCD
Screeens
Heat capacitor
peltier
Heat pipe
radiator
Heat pipe
radiator
Details of construction
In cross-sections
Lower side

## Slide 11
11 mm
275 mm

## Slide 13
Steper Motors

## Slide 14
ReSpect

## Slide 17
Fe55
CCD calibrations

## Slide 18
Miniaturowy czujnik Halla